## 寄存器LW
AddrTag Lib | V106
AddrTagName | AddrHMIID | AddrPLCID | DataType | AddrType | Addr | AddrCodeType | AddrTagDataType | EnableAddrTagDataType | 备注
Window_Switch | 0 | 0 | 2 | 255 | 250 | 0 | 0 | 0 | 切换基本窗口
Window_Back | 0 | 0 | 2 | 255 | 251 | 0 | 0 | 0 | 切换后的窗口编号值写到[指定地址+1]中
Window_Current | 0 | 0 | 2 | 255 | 252 | 0 | 0 | 0 | 当前窗口编号
Window_Up | 0 | 0 | 2 | 255 | 253 | 0 | 0 | 0 | 返回上层菜单目录
Notifiction_red_count | 0 | 0 | 0 | 255 | 260 | 0 | 0 | 0 | 红色提醒个数
Notifiction_blue_count | 0 | 0 | 0 | 255 | 261 | 0 | 0 | 0 | 蓝色提醒个数
Notifiction_yellow_count | 0 | 0 | 0 | 255 | 262 | 0 | 0 | 0 | 黄色提醒个数
部件状态合集
Unit_state1 | 0 | 0 | 0 | 255 | 270 | 0 | 0 | 0 | 部件状态寄存器1
Unit_state2 | 0 | 0 | 0 | 255 | 271 | 0 | 0 | 0 | 部件状态寄存器2
ao_list_AO_EC_FAN_BITMAP_MANUAL | 0 | 0 | 0 | 255 | 272 | 0 | 0 | 0 | 风机1状态寄存器
ao_list_AO_EC_FAN2_BITMAP_MANUAL | 0 | 0 | 0 | 255 | 273 | 0 | 0 | 0 | 风机2状态寄存器
ao_list_AO_EC_COMPRESSOR_BITMAP_MANUAL | 0 | 0 | 0 | 255 | 274 | 0 | 0 | 0 | 压机1状态寄存器
ao_list_AO_EC_COMPRESSOR2_BITMAP_MANUAL | 0 | 0 | 0 | 255 | 275 | 0 | 0 | 0 | 压机2状态寄存器
ao_list_AO_PUMP_BITMAP_MANUAL | 0 | 0 | 0 | 255 | 276 | 0 | 0 | 0 | 收集泵状态寄存器
ao_list_AO_REV_BITMAP_MANUAL | 0 | 0 | 0 | 255 | 277 | 0 | 0 | 0 | 状态寄存器
状态寄存器缓存
Version_HMI_1 | 0 | 0 | 0 | 255 | 280 | 0 | 0 | 0 | HMI_version_1
Version_HMI_2 | 0 | 0 | 0 | 255 | 281 | 0 | 0 | 0 | HMI_version_2
Version_HMI_3 | 0 | 0 | 0 | 255 | 283 | 0 | 0 | 0 | HMI_version_3
Version_MCU_1 | 0 | 0 | 0 | 255 | 284 | 0 | 0 | 0 | MCU_version_1
Version_MCU_2 | 0 | 0 | 0 | 255 | 285 | 0 | 0 | 0 | MCU_version_2
Version_MCU_3 | 0 | 0 | 0 | 255 | 286 | 0 | 0 | 0 | MCU_version_3
device_name | 0 | 0 | 2 | 255 | 400 | 0 | 0 | 0 | SID 缓存 缓存
product_key | 0 | 0 | 2 | 255 | 417 | 0 | 0 | 0 | SID 缓存 缓存
device_secret | 0 | 0 | 2 | 255 | 428 | 0 | 0 | 0 | SID 缓存 缓存
device_id | 0 | 0 | 2 | 255 | 461 | 0 | 0 | 0 | SID 缓存 缓存
4X_B | 0 | 0 | 0 | 6 | 33.03 | 0 | 0 | 0
Log_Check | 0 | 0 | 0 | 255 | 500 | 0 | 0 | 0 | 指定查询
系统特殊寄存器
LanguageSwitch | 0 | 0 | 0 | 255 | 9130 | 0 | 0 | 0 | 语言选择
EN_Operation_Complete | 0 | 0 | 0 | 249 | 9298.3 | 0 | 0 | 0 | 屏蔽operation complete 提醒
Clear_log | 0 | 0 | 0 | 249 | 9133.3 | 0 | 0 | 0 | 清除操作日志

## 寄存器LW.B
AddrTag Lib | V106
AddrTagName | AddrHMIID | AddrPLCID | DataType | AddrType | Addr | AddrCodeType | AddrTagDataType | EnableAddrTagDataType | 备注
EN_Operation_Complete | 0 | 0 | 0 | 249 | 9298.3 | 0 | 0 | 0 | 屏蔽operation complete 提醒
Clear_log | 0 | 0 | 0 | 249 | 9133.3 | 0 | 0 | 0 | 清除操作日志
DO_SF_EV_BPOS | 0 | 0 | 0 | 249 | 270.0 | 0 | 0 | 0 | 沉淀滤芯电磁阀
DO_CF_EV_BPOS | 0 | 0 | 0 | 249 | 270.1 | 0 | 0 | 0 | 活性炭滤芯电磁阀
DO_DTI_EV_BPOS | 0 | 0 | 0 | 249 | 270.2 | 0 | 0 | 0 | 饮水箱进水
DO_CIRCLE_EV_BPOS | 0 | 0 | 0 | 249 | 270.3 | 0 | 0 | 0 | 循环支路
DO_SC_EV_BPOS | 0 | 0 | 0 | 249 | 270.4 | 0 | 0 | 0 | 沉淀杯清洗
DO_ET_EV_BPOS | 0 | 0 | 0 | 249 | 270.5 | 0 | 0 | 0 | 膨胀水箱
DO_COLD_EV_BPOS | 0 | 0 | 0 | 249 | 270.6 | 0 | 0 | 0 | 冰水阀
DO_CIRCLE_PUMP_BPOS | 0 | 0 | 0 | 249 | 270.7 | 0 | 0 | 0 | 循环泵
DO_AIR_PUMP_BPOS | 0 | 0 | 0 | 249 | 270.8 | 0 | 0 | 0 | 气泵
DO_UV_BPOS | 0 | 0 | 0 | 249 | 270.9 | 0 | 0 | 0 | UV
DO_COMP1_BPOS | 0 | 0 | 0 | 249 | 270.10 | 0 | 0 | 0 | 压机1启动
DO_COMP2_BPOS | 0 | 0 | 0 | 249 | 270.11 | 0 | 0 | 0 | 压机2
DO_HOTBYPASS_BPOS | 0 | 0 | 0 | 249 | 270.12 | 0 | 0 | 0 | 热气旁通
DO_RELL_BPOS | 0 | 0 | 0 | 249 | 270.13 | 0 | 0 | 0 | 转轮
DO_RELL_HEAT_BPOS | 0 | 0 | 0 | 249 | 270.14 | 0 | 0 | 0 | 转轮电加热
DO_NORMAL_WATER_BPOS | 0 | 0 | 0 | 249 | 270.15 | 0 | 0 | 0 | 常温水
DO_COLD_WATER_BPOS | 0 | 0 | 0 | 249 | 271.0 | 0 | 0 | 0 | 冰水
DO_RSV_BPOS_1 | 0 | 0 | 0 | 249 | 271.1 | 0 | 0 | 0 | 预留
DO_RSV_BPOS_2 | 0 | 0 | 0 | 249 | 271.2 | 0 | 0 | 0 | 预留
DO_SYS1_EEV1_BPOS | 0 | 0 | 0 | 249 | 271.3 | 0 | 0 | 0 | 预留
DO_SYS1_EEV2_BPOS | 0 | 0 | 0 | 249 | 271.4 | 0 | 0 | 0 | 预留
DO_SYS2_EEV1_BPOS | 0 | 0 | 0 | 249 | 271.5 | 0 | 0 | 0 | 预留
DO_SYS2_EEV2_BPOS | 0 | 0 | 0 | 249 | 271.6 | 0 | 0 | 0 | 预留
DO_LED_GREEN_BPOS | 0 | 0 | 0 | 249 | 271.7 | 0 | 0 | 0 | 绿灯
DO_LED_RED_BPOS | 0 | 0 | 0 | 249 | 271.8 | 0 | 0 | 0 | 红灯
DO_LED_ORANGE_BPOS | 0 | 0 | 0 | 249 | 271.9 | 0 | 0 | 0 | 橙灯
DO_RSV_BPOS_3 | 0 | 0 | 0 | 249 | 271.10 | 0 | 0 | 0 | 预留
DO_ALARM_BPOS | 0 | 0 | 0 | 249 | 271.11 | 0 | 0 | 0 | 预留
DO_RSV_BPOS_5 | 0 | 0 | 0 | 249 | 271.12 | 0 | 0 | 0 | 预留
DO_RSV_BPOS_6 | 0 | 0 | 0 | 249 | 271.13 | 0 | 0 | 0 | 预留
DO_RSV_BPOS_7 | 0 | 0 | 0 | 249 | 271.14 | 0 | 0 | 0 | 预留
DO_RSV_BPOS_8 | 0 | 0 | 0 | 249 | 271.15 | 0 | 0 | 0 | 预留

## MCU数据缓存 Addr LW1000+
AddrTagName | AddrHMIID | AddrPLCID | DataType | AddrType | Addr | AddrCodeType | AddrTagDataType | EnableAddrTagDataType | 备注
Cache_ComPara_SN_Code0 | 0 | 0 | 0 | 255 | 1092 | 0 | 0 | 0 | 序列号缓存
Cache_ComPara_SN_Code1 | 0 | 0 | 0 | 255 | 1093 | 0 | 0 | 0 | 序列号缓存
Cache_ComPara_SN_Code2 | 0 | 0 | 0 | 255 | 1094 | 0 | 0 | 0 | 序列号缓存
Cache_ComPara_SN_Code3 | 0 | 0 | 0 | 255 | 1095 | 0 | 0 | 0 | 序列号缓存
Cache_Net_Device_info00 | 0 | 0 | 2 | 255 | 1400 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info01 | 0 | 0 | 2 | 255 | 1401 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info02 | 0 | 0 | 2 | 255 | 1402 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info03 | 0 | 0 | 2 | 255 | 1403 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info04 | 0 | 0 | 2 | 255 | 1404 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info05 | 0 | 0 | 2 | 255 | 1405 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info06 | 0 | 0 | 2 | 255 | 1406 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info07 | 0 | 0 | 2 | 255 | 1407 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info08 | 0 | 0 | 2 | 255 | 1408 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info09 | 0 | 0 | 2 | 255 | 1409 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info10 | 0 | 0 | 2 | 255 | 1410 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info11 | 0 | 0 | 2 | 255 | 1411 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info12 | 0 | 0 | 2 | 255 | 1412 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info13 | 0 | 0 | 2 | 255 | 1413 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info14 | 0 | 0 | 2 | 255 | 1414 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info15 | 0 | 0 | 2 | 255 | 1415 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info16 | 0 | 0 | 2 | 255 | 1416 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info17 | 0 | 0 | 2 | 255 | 1417 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info18 | 0 | 0 | 2 | 255 | 1418 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info19 | 0 | 0 | 2 | 255 | 1419 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info20 | 0 | 0 | 2 | 255 | 1420 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info21 | 0 | 0 | 2 | 255 | 1421 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info22 | 0 | 0 | 2 | 255 | 1422 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info23 | 0 | 0 | 2 | 255 | 1423 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info24 | 0 | 0 | 2 | 255 | 1424 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info25 | 0 | 0 | 2 | 255 | 1425 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info26 | 0 | 0 | 2 | 255 | 1426 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info27 | 0 | 0 | 2 | 255 | 1427 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info28 | 0 | 0 | 2 | 255 | 1428 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info29 | 0 | 0 | 2 | 255 | 1429 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info30 | 0 | 0 | 2 | 255 | 1430 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info31 | 0 | 0 | 2 | 255 | 1431 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info32 | 0 | 0 | 2 | 255 | 1432 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info33 | 0 | 0 | 2 | 255 | 1433 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info34 | 0 | 0 | 2 | 255 | 1434 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info35 | 0 | 0 | 2 | 255 | 1435 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info36 | 0 | 0 | 2 | 255 | 1436 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info37 | 0 | 0 | 2 | 255 | 1437 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info38 | 0 | 0 | 2 | 255 | 1438 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info39 | 0 | 0 | 2 | 255 | 1439 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info40 | 0 | 0 | 2 | 255 | 1440 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info41 | 0 | 0 | 2 | 255 | 1441 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info42 | 0 | 0 | 2 | 255 | 1442 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info43 | 0 | 0 | 2 | 255 | 1443 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info44 | 0 | 0 | 2 | 255 | 1444 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info45 | 0 | 0 | 2 | 255 | 1445 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info46 | 0 | 0 | 2 | 255 | 1446 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info47 | 0 | 0 | 2 | 255 | 1447 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info48 | 0 | 0 | 2 | 255 | 1448 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info49 | 0 | 0 | 2 | 255 | 1449 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info50 | 0 | 0 | 2 | 255 | 1450 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info51 | 0 | 0 | 2 | 255 | 1451 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info52 | 0 | 0 | 2 | 255 | 1452 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info53 | 0 | 0 | 2 | 255 | 1453 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info54 | 0 | 0 | 2 | 255 | 1454 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info55 | 0 | 0 | 2 | 255 | 1455 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info56 | 0 | 0 | 2 | 255 | 1456 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info57 | 0 | 0 | 2 | 255 | 1457 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info58 | 0 | 0 | 2 | 255 | 1458 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info59 | 0 | 0 | 2 | 255 | 1459 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info60 | 0 | 0 | 2 | 255 | 1460 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info61 | 0 | 0 | 2 | 255 | 1461 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info62 | 0 | 0 | 2 | 255 | 1462 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info63 | 0 | 0 | 2 | 255 | 1463 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info64 | 0 | 0 | 2 | 255 | 1464 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info65 | 0 | 0 | 2 | 255 | 1465 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info66 | 0 | 0 | 2 | 255 | 1466 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info67 | 0 | 0 | 2 | 255 | 1467 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info68 | 0 | 0 | 2 | 255 | 1468 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info69 | 0 | 0 | 2 | 255 | 1469 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info70 | 0 | 0 | 2 | 255 | 1470 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info71 | 0 | 0 | 2 | 255 | 1471 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info72 | 0 | 0 | 2 | 255 | 1472 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info73 | 0 | 0 | 2 | 255 | 1473 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info74 | 0 | 0 | 2 | 255 | 1474 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info75 | 0 | 0 | 2 | 255 | 1475 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info76 | 0 | 0 | 2 | 255 | 1476 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info77 | 0 | 0 | 2 | 255 | 1477 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info78 | 0 | 0 | 2 | 255 | 1478 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info79 | 0 | 0 | 2 | 255 | 1479 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info80 | 0 | 0 | 2 | 255 | 1480 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info81 | 0 | 0 | 2 | 255 | 1481 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info82 | 0 | 0 | 2 | 255 | 1482 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info83 | 0 | 0 | 2 | 255 | 1483 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info84 | 0 | 0 | 2 | 255 | 1484 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info85 | 0 | 0 | 2 | 255 | 1485 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info86 | 0 | 0 | 2 | 255 | 1486 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info87 | 0 | 0 | 2 | 255 | 1487 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info88 | 0 | 0 | 2 | 255 | 1488 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info89 | 0 | 0 | 2 | 255 | 1489 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info90 | 0 | 0 | 2 | 255 | 1490 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info91 | 0 | 0 | 2 | 255 | 1491 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info92 | 0 | 0 | 2 | 255 | 1492 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info93 | 0 | 0 | 2 | 255 | 1493 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info94 | 0 | 0 | 2 | 255 | 1494 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info95 | 0 | 0 | 2 | 255 | 1495 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info96 | 0 | 0 | 2 | 255 | 1496 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info97 | 0 | 0 | 2 | 255 | 1497 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info98 | 0 | 0 | 2 | 255 | 1498 | 0 | 0 | 0 | SID 缓存
Cache_Net_Device_info99 | 0 | 0 | 2 | 255 | 1499 | 0 | 0 | 0 | SID 缓存
Cache_status_ComSta_Alarm_bitmap0 | 0 | 0 | 2 | 255 | 1717 | 0 | 0 | 0 | AlarmState 缓存
Cache_status_ComSta_Alarm_bitmap1 | 0 | 0 | 2 | 255 | 1718 | 0 | 0 | 0 | AlarmState 缓存
Cache_status_ComSta_Alarm_bitmap2 | 0 | 0 | 2 | 255 | 1719 | 0 | 0 | 0 | AlarmState 缓存
Cache_status_ComSta_Alarm_bitmap3 | 0 | 0 | 2 | 255 | 1720 | 0 | 0 | 0 | AlarmState 缓存
Cache_status_ComSta_Alarm_bitmap4 | 0 | 0 | 2 | 255 | 1721 | 0 | 0 | 0 | AlarmState 缓存
Cache_status_ComSta_Alarm_bitmap5 | 0 | 0 | 2 | 255 | 1722 | 0 | 0 | 0 | AlarmState 缓存

## 寄存器LB
AddrTag Lib | V106
AddrTagName | AddrHMIID | AddrPLCID | DataType | AddrType | Addr | AddrCodeType | AddrTagDataType | EnableAddrTagDataType | 备注
提醒
Notifiction_red | 0 | 0 | 0 | 254 | 260 | 0 | 0 | 0 | 红色提醒标志
Notifiction_blue | 0 | 0 | 0 | 254 | 261 | 0 | 0 | 0 | 蓝色提醒标志
Notifiction_yellow | 0 | 0 | 0 | 254 | 262 | 0 | 0 | 0 | 黄色提醒标志
状态
state_fan | 0 | 0 | 0 | 254 | 270 | 0 | 0 | 0 | 风扇状态指示
state_refrigeration | 0 | 0 | 0 | 254 | 271 | 0 | 0 | 0 | 制冷状态指示
state_voice | 0 | 0 | 0 | 254 | 272 | 0 | 0 | 0 | 声音状态指示

## MCU寄存器 4X
AddrTag Lib | V106
AddrTagName | AddrHMIID | AddrPLCID | DataType | AddrType | Addr | AddrCodeType | AddrTagDataType | EnableAddrTagDataType | 备注
4X_Tese000 | 0 | 0 | 2 | 4 | 65 | 0 | 0 | 0 | 4X_Tese000
4X_Tese001 | 0 | 0 | 2 | 4 | 66 | 0 | 0 | 0 | 4X_Tese001
general_surv_baudrate | 0 | 0 | 2 | 4 | 67 | 0 | 0 | 0 | 波特率
general_surv_addr | 0 | 0 | 2 | 4 | 68 | 0 | 0 | 0 | 4X_Tese003
general_diagnose_mode_en | 0 | 0 | 2 | 4 | 69 | 0 | 0 | 0 | 4X_Tese004
general_alarm_bypass_en | 0 | 0 | 2 | 4 | 70 | 0 | 0 | 0 | 4X_Tese005
general_testing_mode_en | 0 | 0 | 2 | 4 | 71 | 0 | 0 | 0 | 4X_Tese006
dev_mask_ain1 | 0 | 0 | 2 | 4 | 72 | 0 | 0 | 0 | 4X_Tese007
dev_mask_din_bitmap_polarity0 | 0 | 0 | 2 | 4 | 73 | 0 | 0 | 0 | 4X_Tese008
dev_mask_din_bitmap_polarity1 | 0 | 0 | 2 | 4 | 74 | 0 | 0 | 0 | 4X_Tese009
dev_mask_ain0 | 0 | 0 | 2 | 4 | 75 | 0 | 0 | 0 | 4X_Tese010
dev_mask_din0 | 0 | 0 | 2 | 4 | 76 | 0 | 0 | 0 | 4X_Tese011
dev_mask_din1 | 0 | 0 | 2 | 4 | 77 | 0 | 0 | 0 | 4X_Tese012
dev_mask_aout | 0 | 0 | 2 | 4 | 78 | 0 | 0 | 0 | 4X_Tese013
dev_mask_mb_comp | 0 | 0 | 2 | 4 | 79 | 0 | 0 | 0 | 4X_Tese014
dev_mask_dout0 | 0 | 0 | 2 | 4 | 80 | 0 | 0 | 0 | 4X_Tese015
dev_mask_dout1 | 0 | 0 | 2 | 4 | 81 | 0 | 0 | 0 | 4X_Tese016
4X_Tese017 | 0 | 0 | 2 | 4 | 82 | 0 | 0 | 0 | 4X_Tese017
4X_Tese018 | 0 | 0 | 2 | 4 | 83 | 0 | 0 | 0 | 4X_Tese018
4X_Tese019 | 0 | 0 | 2 | 4 | 84 | 0 | 0 | 0 | 4X_Tese019
4X_Tese020 | 0 | 0 | 2 | 4 | 85 | 0 | 0 | 0 | 4X_Tese020
4X_Tese021 | 0 | 0 | 2 | 4 | 86 | 0 | 0 | 0 | 4X_Tese021
4X_Tese022 | 0 | 0 | 2 | 4 | 87 | 0 | 0 | 0 | 4X_Tese022
4X_Tese023 | 0 | 0 | 2 | 4 | 88 | 0 | 0 | 0 | 4X_Tese023
4X_Tese024 | 0 | 0 | 2 | 4 | 89 | 0 | 0 | 0 | 4X_Tese024
4X_Tese025 | 0 | 0 | 2 | 4 | 90 | 0 | 0 | 0 | 4X_Tese025
4X_Tese026 | 0 | 0 | 2 | 4 | 91 | 0 | 0 | 0 | 4X_Tese026
ComPara_SN_Code0 | 0 | 0 | 2 | 4 | 92 | 0 | 0 | 0 | 4X_Tese027
ComPara_SN_Code1 | 0 | 0 | 2 | 4 | 93 | 0 | 0 | 0 | 4X_Tese028
ComPara_SN_Code2 | 0 | 0 | 2 | 4 | 94 | 0 | 0 | 0 | 4X_Tese029
ComPara_SN_Code3 | 0 | 0 | 2 | 4 | 95 | 0 | 0 | 0 | 4X_Tese030
4X_Tese031 | 0 | 0 | 2 | 4 | 96 | 0 | 0 | 0 | 4X_Tese031
4X_Tese032 | 0 | 0 | 2 | 4 | 97 | 0 | 0 | 0 | 4X_Tese032
4X_Tese033 | 0 | 0 | 2 | 4 | 98 | 0 | 0 | 0 | 4X_Tese033
4X_Tese034 | 0 | 0 | 2 | 4 | 99 | 0 | 0 | 0 | 4X_Tese034
ComPara_M_Type | 0 | 0 | 2 | 4 | 100 | 0 | 0 | 0 | 4X_Tese035
ComPara_Power_Mode | 0 | 0 | 2 | 4 | 101 | 0 | 0 | 0 | 4X_Tese036
Temp_Hum_Start_Temp | 0 | 0 | 2 | 4 | 102 | 0 | 0 | 0 | 4X_Tese037
Temp_Hum_Start_Humidity | 0 | 0 | 2 | 4 | 103 | 0 | 0 | 0 | 4X_Tese038
Temp_Hum_Stop_Temp | 0 | 0 | 2 | 4 | 104 | 0 | 0 | 0 | 4X_Tese039
Temp_Hum_Stop_Humidity | 0 | 0 | 2 | 4 | 105 | 0 | 0 | 0 | 4X_Tese040
Compressor_CP_Defrost_Start_Defrost_Temp | 0 | 0 | 2 | 4 | 106 | 0 | 0 | 0 | 4X_Tese041
Compressor_CP_Defrost_Stop_Defrost_Temp | 0 | 0 | 2 | 4 | 107 | 0 | 0 | 0 | 4X_Tese042
ComPara_Sterilize_Time0 | 0 | 0 | 2 | 4 | 108 | 0 | 0 | 0 | 4X_Tese043
ComPara_Sterilize_Interval0 | 0 | 0 | 2 | 4 | 109 | 0 | 0 | 0 | 4X_Tese044
ComPara_Water_Ctrl | 0 | 0 | 2 | 4 | 110 | 0 | 0 | 0 | 4X_Tese045
ComPara_Water_Mode | 0 | 0 | 2 | 4 | 111 | 0 | 0 | 0 | 4X_Tese046
ComPara_Water_Flow | 0 | 0 | 2 | 4 | 112 | 0 | 0 | 0 | 4X_Tese047
ComPara_NormalWater_Temp | 0 | 0 | 2 | 4 | 113 | 0 | 0 | 0 | 4X_Tese048
ComPara_HotWater_Temp | 0 | 0 | 2 | 4 | 114 | 0 | 0 | 0 | 4X_Tese049
ComPara_WaterSource_Mode | 0 | 0 | 2 | 4 | 115 | 0 | 0 | 0 | 4X_Tese050
ComPara_Change_WaterTank | 0 | 0 | 2 | 4 | 116 | 0 | 0 | 0 | 4X_Tese051
ComPara_Sterilize_Mode | 0 | 0 | 2 | 4 | 117 | 0 | 0 | 0 | 4X_Tese052
ComPara_Sterilize_Time1 | 0 | 0 | 2 | 4 | 118 | 0 | 0 | 0 | 4X_Tese053
ComPara_Sterilize_Interval1 | 0 | 0 | 2 | 4 | 119 | 0 | 0 | 0 | 4X_Tese054
4X_Tese055 | 0 | 0 | 2 | 4 | 120 | 0 | 0 | 0 | 4X_Tese055
ComPara_Reset | 0 | 0 | 2 | 4 | 121 | 0 | 0 | 0 | 4X_Tese056
ComPara_Test_Mode_Type | 0 | 0 | 2 | 4 | 122 | 0 | 0 | 0 | 4X_Tese057
ComPara_Manual_Test_En | 0 | 0 | 2 | 4 | 123 | 0 | 0 | 0 | 4X_Tese058
bitmap0_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 124 | 0 | 0 | 0 | 4X_Tese059
bitmap1_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 125 | 0 | 0 | 0 | 4X_Tese060
ao_list_AO_EC_FAN_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 126 | 0 | 0 | 0 | 4X_Tese061
ao_list_AO_EC_FAN2_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 127 | 0 | 0 | 0 | 4X_Tese062
ao_list_AO_EC_COMPRESSOR_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 128 | 0 | 0 | 0 | 4X_Tese063
ao_list_AO_EC_COMPRESSOR2_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 129 | 0 | 0 | 0 | 4X_Tese064
ao_list_AO_PUMP_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 130 | 0 | 0 | 0 | 4X_Tese065
ao_list_AO_REV_BITMAP_MANUAL | 0 | 0 | 2 | 4 | 131 | 0 | 0 | 0 | 4X_Tese066
ComPara_TPower_En | 0 | 0 | 2 | 4 | 132 | 0 | 0 | 0 | 4X_Tese067
ComPara_TPower_On | 0 | 0 | 2 | 4 | 133 | 0 | 0 | 0 | 4X_Tese068
ComPara_TPower_Off | 0 | 0 | 2 | 4 | 134 | 0 | 0 | 0 | 4X_Tese069
alarm_ACL_FILTER_OT_alarm_param | 0 | 0 | 2 | 4 | 135 | 0 | 0 | 0 | 4X_Tese070
alarm_ACL_FILTER_ELEMENT_0_OT_alarm_param | 0 | 0 | 2 | 4 | 136 | 0 | 0 | 0 | 4X_Tese071
ComPara_Clear_RT | 0 | 0 | 2 | 4 | 137 | 0 | 0 | 0 | 4X_Tese072
ComPara_Clear_ALARM | 0 | 0 | 2 | 4 | 138 | 0 | 0 | 0 | 4X_Tese073
4X_Tese074 | 0 | 0 | 2 | 4 | 139 | 0 | 0 | 0 | 4X_Tese074
4X_Tese075 | 0 | 0 | 2 | 4 | 140 | 0 | 0 | 0 | 4X_Tese075
4X_Tese076 | 0 | 0 | 2 | 4 | 141 | 0 | 0 | 0 | 4X_Tese076
4X_Tese077 | 0 | 0 | 2 | 4 | 142 | 0 | 0 | 0 | 4X_Tese077
4X_Tese078 | 0 | 0 | 2 | 4 | 143 | 0 | 0 | 0 | 4X_Tese078
4X_Tese079 | 0 | 0 | 2 | 4 | 144 | 0 | 0 | 0 | 4X_Tese079
4X_Tese080 | 0 | 0 | 2 | 4 | 145 | 0 | 0 | 0 | 4X_Tese080
4X_Tese081 | 0 | 0 | 2 | 4 | 146 | 0 | 0 | 0 | 4X_Tese081
ComPara_Set_Time0 | 0 | 0 | 2 | 4 | 147 | 0 | 0 | 0 | 4X_Tese082
ComPara_Set_Time1 | 0 | 0 | 2 | 4 | 148 | 0 | 0 | 0 | 4X_Tese083
4X_Tese084 | 0 | 0 | 2 | 4 | 149 | 0 | 0 | 0 | 4X_Tese084
4X_Tese085 | 0 | 0 | 2 | 4 | 150 | 0 | 0 | 0 | 4X_Tese085
ComPara_ColdWater_Mode | 0 | 0 | 2 | 4 | 151 | 0 | 0 | 0 | 4X_Tese086
ComPara_ColdWater_StartTemp | 0 | 0 | 2 | 4 | 152 | 0 | 0 | 0 | 4X_Tese087
ComPara_ColdWater_StopTemp | 0 | 0 | 2 | 4 | 153 | 0 | 0 | 0 | 4X_Tese088
ComPara_HeatFan_StartTemp | 0 | 0 | 2 | 4 | 154 | 0 | 0 | 0 | 4X_Tese089
ComPara_HeatFan_StopTemp | 0 | 0 | 2 | 4 | 155 | 0 | 0 | 0 | 4X_Tese090
ComPara_FILTER_ELEMENT_Type | 0 | 0 | 2 | 4 | 156 | 0 | 0 | 0 | 4X_Tese091
alarm_ACL_FILTER_ELEMENT_1_OT_alarm_param | 0 | 0 | 2 | 4 | 157 | 0 | 0 | 0 | 4X_Tese092
alarm_ACL_FILTER_ELEMENT_2_OT_alarm_param | 0 | 0 | 2 | 4 | 158 | 0 | 0 | 0 | 4X_Tese093
alarm_ACL_FILTER_ELEMENT_3_OT_alarm_param | 0 | 0 | 2 | 4 | 159 | 0 | 0 | 0 | 4X_Tese094
alarm_ACL_FILTER_ELEMENT_4_OT_alarm_param | 0 | 0 | 2 | 4 | 160 | 0 | 0 | 0 | 4X_Tese095
alarm_ACL_UV1_OT_alarm_param | 0 | 0 | 2 | 4 | 161 | 0 | 0 | 0 | 4X_Tese096
alarm_ACL_UV2_OT_alarm_param | 0 | 0 | 2 | 4 | 162 | 0 | 0 | 0 | 4X_Tese097
4X_Tese098 | 0 | 0 | 2 | 4 | 163 | 0 | 0 | 0 | 4X_Tese098
4X_Tese099 | 0 | 0 | 2 | 4 | 164 | 0 | 0 | 0 | 4X_Tese099
4X_Tese100 | 0 | 0 | 2 | 4 | 165 | 0 | 0 | 0 | 4X_Tese100
Platform_Fixed_Report | 0 | 0 | 2 | 4 | 166 | 0 | 0 | 0 | 4X_Tese101
Platform_Real_Report | 0 | 0 | 2 | 4 | 167 | 0 | 0 | 0 | 4X_Tese102
Compara_CloseFrist | 0 | 0 | 2 | 4 | 168 | 0 | 0 | 0 | 4X_Tese103
Compara_CloseDelay | 0 | 0 | 2 | 4 | 169 | 0 | 0 | 0 | 4X_Tese104
4X_Tese105 | 0 | 0 | 2 | 4 | 170 | 0 | 0 | 0 | 4X_Tese105
LN_LN_Enable | 0 | 0 | 2 | 4 | 171 | 0 | 0 | 0 | 4X_Tese106
LN_LN_Mode | 0 | 0 | 2 | 4 | 172 | 0 | 0 | 0 | 4X_Tese107
LN_LN_Time0 | 0 | 0 | 2 | 4 | 173 | 0 | 0 | 0 | 4X_Tese108
LN_LN_Time1 | 0 | 0 | 2 | 4 | 174 | 0 | 0 | 0 | 4X_Tese109
LN_LN_Fan | 0 | 0 | 2 | 4 | 175 | 0 | 0 | 0 | 4X_Tese110
4X_Tese111 | 0 | 0 | 2 | 4 | 176 | 0 | 0 | 0 | 4X_Tese111
4X_Tese112 | 0 | 0 | 2 | 4 | 177 | 0 | 0 | 0 | 4X_Tese112
4X_Tese113 | 0 | 0 | 2 | 4 | 178 | 0 | 0 | 0 | 4X_Tese113
general_temp_sensor_cali0_temp | 0 | 0 | 2 | 4 | 179 | 0 | 0 | 0 | 4X_Tese114
general_temp_sensor_cali0_hum | 0 | 0 | 2 | 4 | 180 | 0 | 0 | 0 | 4X_Tese115
general_temp_sensor_cali1_temp | 0 | 0 | 2 | 4 | 181 | 0 | 0 | 0 | 4X_Tese116
general_temp_sensor_cali1_hum | 0 | 0 | 2 | 4 | 182 | 0 | 0 | 0 | 4X_Tese117
general_temp_sensor_cali2_temp | 0 | 0 | 2 | 4 | 183 | 0 | 0 | 0 | 4X_Tese118
general_temp_sensor_cali2_hum | 0 | 0 | 2 | 4 | 184 | 0 | 0 | 0 | 4X_Tese119
general_temp_sensor_cali3_temp | 0 | 0 | 2 | 4 | 185 | 0 | 0 | 0 | 4X_Tese120
general_temp_sensor_cali3_hum | 0 | 0 | 2 | 4 | 186 | 0 | 0 | 0 | 4X_Tese121
general_temp_sensor_cali4_temp | 0 | 0 | 2 | 4 | 187 | 0 | 0 | 0 | 4X_Tese122
general_temp_sensor_cali4_hum | 0 | 0 | 2 | 4 | 188 | 0 | 0 | 0 | 4X_Tese123
general_temp_sensor_cali5_temp | 0 | 0 | 2 | 4 | 189 | 0 | 0 | 0 | 4X_Tese124
general_temp_sensor_cali5_hum | 0 | 0 | 2 | 4 | 190 | 0 | 0 | 0 | 4X_Tese125
general_temp_sensor_cali6_temp | 0 | 0 | 2 | 4 | 191 | 0 | 0 | 0 | 4X_Tese126
general_temp_sensor_cali6_hum | 0 | 0 | 2 | 4 | 192 | 0 | 0 | 0 | 4X_Tese127
general_temp_sensor_cali7_temp | 0 | 0 | 2 | 4 | 193 | 0 | 0 | 0 | 4X_Tese128
general_temp_sensor_cali7_hum | 0 | 0 | 2 | 4 | 194 | 0 | 0 | 0 | 4X_Tese129
general_temp_sensor_cali8_temp | 0 | 0 | 2 | 4 | 195 | 0 | 0 | 0 | 4X_Tese130
general_temp_sensor_cali8_hum | 0 | 0 | 2 | 4 | 196 | 0 | 0 | 0 | 4X_Tese131
general_ai_cali00 | 0 | 0 | 2 | 4 | 197 | 0 | 0 | 0 | 4X_Tese132
general_ai_cali01 | 0 | 0 | 2 | 4 | 198 | 0 | 0 | 0 | 4X_Tese133
general_ai_cali02 | 0 | 0 | 2 | 4 | 199 | 0 | 0 | 0 | 4X_Tese134
general_ai_cali03 | 0 | 0 | 2 | 4 | 200 | 0 | 0 | 0 | 4X_Tese135
general_ai_cali04 | 0 | 0 | 2 | 4 | 201 | 0 | 0 | 0 | 4X_Tese136
general_ai_cali05 | 0 | 0 | 2 | 4 | 202 | 0 | 0 | 0 | 4X_Tese137
general_ai_cali06 | 0 | 0 | 2 | 4 | 203 | 0 | 0 | 0 | 4X_Tese138
general_ai_cali07 | 0 | 0 | 2 | 4 | 204 | 0 | 0 | 0 | 4X_Tese139
general_ai_cali08 | 0 | 0 | 2 | 4 | 205 | 0 | 0 | 0 | 4X_Tese140
general_ai_cali09 | 0 | 0 | 2 | 4 | 206 | 0 | 0 | 0 | 4X_Tese141
general_ai_cali10 | 0 | 0 | 2 | 4 | 207 | 0 | 0 | 0 | 4X_Tese142
general_ai_cali11 | 0 | 0 | 2 | 4 | 208 | 0 | 0 | 0 | 4X_Tese143
general_ai_cali12 | 0 | 0 | 2 | 4 | 209 | 0 | 0 | 0 | 4X_Tese144
general_ai_cali13 | 0 | 0 | 2 | 4 | 210 | 0 | 0 | 0 | 4X_Tese145
general_ai_cali14 | 0 | 0 | 2 | 4 | 211 | 0 | 0 | 0 | 4X_Tese146
general_ai_cali15 | 0 | 0 | 2 | 4 | 212 | 0 | 0 | 0 | 4X_Tese147
general_ntc_cali0 | 0 | 0 | 2 | 4 | 213 | 0 | 0 | 0 | 4X_Tese148
general_ntc_cali1 | 0 | 0 | 2 | 4 | 214 | 0 | 0 | 0 | 4X_Tese149
general_ntc_cali2 | 0 | 0 | 2 | 4 | 215 | 0 | 0 | 0 | 4X_Tese150
general_ntc_cali3 | 0 | 0 | 2 | 4 | 216 | 0 | 0 | 0 | 4X_Tese151
general_ntc_cali4 | 0 | 0 | 2 | 4 | 217 | 0 | 0 | 0 | 4X_Tese152
general_ntc_cali5 | 0 | 0 | 2 | 4 | 218 | 0 | 0 | 0 | 4X_Tese153
general_ntc_cali6 | 0 | 0 | 2 | 4 | 219 | 0 | 0 | 0 | 4X_Tese154
general_ntc_cali7 | 0 | 0 | 2 | 4 | 220 | 0 | 0 | 0 | 4X_Tese155
general_ntc_cali8 | 0 | 0 | 2 | 4 | 221 | 0 | 0 | 0 | 4X_Tese156
4X_Tese157 | 0 | 0 | 2 | 4 | 222 | 0 | 0 | 0 | 4X_Tese157
4X_Tese158 | 0 | 0 | 2 | 4 | 223 | 0 | 0 | 0 | 4X_Tese158
4X_Tese159 | 0 | 0 | 2 | 4 | 224 | 0 | 0 | 0 | 4X_Tese159
fan_mode | 0 | 0 | 2 | 4 | 225 | 0 | 0 | 0 | 4X_Tese160
fan_delay_startup | 0 | 0 | 2 | 4 | 226 | 0 | 0 | 0 | 4X_Tese161
fan_delay_stop | 0 | 0 | 2 | 4 | 227 | 0 | 0 | 0 | 4X_Tese162
fan_cold_start_delay | 0 | 0 | 2 | 4 | 228 | 0 | 0 | 0 | 4X_Tese163
fan_speed_set | 0 | 0 | 2 | 4 | 229 | 0 | 0 | 0 | 4X_Tese164
fan_speed_min | 0 | 0 | 2 | 4 | 230 | 0 | 0 | 0 | 4X_Tese165
fan_speed_max | 0 | 0 | 2 | 4 | 231 | 0 | 0 | 0 | 4X_Tese166
fan_adjust_step | 0 | 0 | 2 | 4 | 232 | 0 | 0 | 0 | 4X_Tese167
fan_Sys1_humudity | 0 | 0 | 2 | 4 | 233 | 0 | 0 | 0 | 4X_Tese168
fan_Sys1_P | 0 | 0 | 2 | 4 | 234 | 0 | 0 | 0 | 4X_Tese169
fan_Sys1_I | 0 | 0 | 2 | 4 | 235 | 0 | 0 | 0 | 4X_Tese170
4X_Tese171 | 0 | 0 | 2 | 4 | 236 | 0 | 0 | 0 | 4X_Tese171
4X_Tese172 | 0 | 0 | 2 | 4 | 237 | 0 | 0 | 0 | 4X_Tese172
4X_Tese173 | 0 | 0 | 2 | 4 | 238 | 0 | 0 | 0 | 4X_Tese173
4X_Tese174 | 0 | 0 | 2 | 4 | 239 | 0 | 0 | 0 | 4X_Tese174
4X_Tese175 | 0 | 0 | 2 | 4 | 240 | 0 | 0 | 0 | 4X_Tese175
4X_Tese176 | 0 | 0 | 2 | 4 | 241 | 0 | 0 | 0 | 4X_Tese176
4X_Tese177 | 0 | 0 | 2 | 4 | 242 | 0 | 0 | 0 | 4X_Tese177
4X_Tese178 | 0 | 0 | 2 | 4 | 243 | 0 | 0 | 0 | 4X_Tese178
4X_Tese179 | 0 | 0 | 2 | 4 | 244 | 0 | 0 | 0 | 4X_Tese179
4X_Tese180 | 0 | 0 | 2 | 4 | 245 | 0 | 0 | 0 | 4X_Tese180
Compressor_delay_startup | 0 | 0 | 2 | 4 | 246 | 0 | 0 | 0 | 4X_Tese181
Compressor_delay_stop | 0 | 0 | 2 | 4 | 247 | 0 | 0 | 0 | 4X_Tese182
Compressor_min_runtime | 0 | 0 | 2 | 4 | 248 | 0 | 0 | 0 | 4X_Tese183
Compressor_min_stoptime | 0 | 0 | 2 | 4 | 249 | 0 | 0 | 0 | 4X_Tese184
Compressor_startup_lowpress_shield | 0 | 0 | 2 | 4 | 250 | 0 | 0 | 0 | 4X_Tese185
Compressor_start_interval | 0 | 0 | 2 | 4 | 251 | 0 | 0 | 0 | 4X_Tese186
4X_Tese187 | 0 | 0 | 2 | 4 | 252 | 0 | 0 | 0 | 4X_Tese187
4X_Tese188 | 0 | 0 | 2 | 4 | 253 | 0 | 0 | 0 | 4X_Tese188
Compressor_start_speed0 | 0 | 0 | 2 | 4 | 254 | 0 | 0 | 0 | 4X_Tese189
Compressor_start_speed1 | 0 | 0 | 2 | 4 | 255 | 0 | 0 | 0 | 4X_Tese190
Compressor_speed_min | 0 | 0 | 2 | 4 | 256 | 0 | 0 | 0 | 4X_Tese191
Compressor_speed_max | 0 | 0 | 2 | 4 | 257 | 0 | 0 | 0 | 4X_Tese192
Compressor_start_req0 | 0 | 0 | 2 | 4 | 258 | 0 | 0 | 0 | 4X_Tese193
Compressor_start_req1 | 0 | 0 | 2 | 4 | 259 | 0 | 0 | 0 | 4X_Tese194
Compressor_step | 0 | 0 | 2 | 4 | 260 | 0 | 0 | 0 | 4X_Tese195
Compressor_period | 0 | 0 | 2 | 4 | 261 | 0 | 0 | 0 | 4X_Tese196
Compressor_C_P1 | 0 | 0 | 2 | 4 | 262 | 0 | 0 | 0 | 4X_Tese197
Compressor_C_P2 | 0 | 0 | 2 | 4 | 263 | 0 | 0 | 0 | 4X_Tese198
Compressor_C_I1 | 0 | 0 | 2 | 4 | 264 | 0 | 0 | 0 | 4X_Tese199
Compressor_C_I2 | 0 | 0 | 2 | 4 | 265 | 0 | 0 | 0 | 4X_Tese200
Compressor_C_D1 | 0 | 0 | 2 | 4 | 266 | 0 | 0 | 0 | 4X_Tese201
Compressor_C_D2 | 0 | 0 | 2 | 4 | 267 | 0 | 0 | 0 | 4X_Tese202
Compressor_high_press_threshold | 0 | 0 | 2 | 4 | 268 | 0 | 0 | 0 | 4X_Tese203
Compressor_high_press_hyst | 0 | 0 | 2 | 4 | 269 | 0 | 0 | 0 | 4X_Tese204
Compressor_press_diff | 0 | 0 | 2 | 4 | 270 | 0 | 0 | 0 | 4X_Tese205
Compressor_Exhaust_temperature | 0 | 0 | 2 | 4 | 271 | 0 | 0 | 0 | 4X_Tese206
Compressor_Exhaust_temperature_hyst | 0 | 0 | 2 | 4 | 272 | 0 | 0 | 0 | 4X_Tese207
Compressor_ret_oil_period | 0 | 0 | 2 | 4 | 273 | 0 | 0 | 0 | 4X_Tese208
Compressor_ret_oil_freq | 0 | 0 | 2 | 4 | 274 | 0 | 0 | 0 | 4X_Tese209
Compressor_low_freq_switch_period | 0 | 0 | 2 | 4 | 275 | 0 | 0 | 0 | 4X_Tese210
Compressor_low_freq_threshold | 0 | 0 | 2 | 4 | 276 | 0 | 0 | 0 | 4X_Tese211
Compressor_Pra_A | 0 | 0 | 2 | 4 | 277 | 0 | 0 | 0 | 4X_Tese212
Compressor_Pra_B | 0 | 0 | 2 | 4 | 278 | 0 | 0 | 0 | 4X_Tese213
4X_Tese214 | 0 | 0 | 2 | 4 | 279 | 0 | 0 | 0 | 4X_Tese214
Compressor_CP_Defrost_Defrost_Duration | 0 | 0 | 2 | 4 | 280 | 0 | 0 | 0 | 4X_Tese215
Compressor_CP_Defrost_Max_Defrost_Time | 0 | 0 | 2 | 4 | 281 | 0 | 0 | 0 | 4X_Tese216
Compressor_CP_Defrost_Defrost_Freq | 0 | 0 | 2 | 4 | 282 | 0 | 0 | 0 | 4X_Tese217
4X_Tese218 | 0 | 0 | 2 | 4 | 283 | 0 | 0 | 0 | 4X_Tese218
4X_Tese219 | 0 | 0 | 2 | 4 | 284 | 0 | 0 | 0 | 4X_Tese219
4X_Tese220 | 0 | 0 | 2 | 4 | 285 | 0 | 0 | 0 | 4X_Tese220
4X_Tese221 | 0 | 0 | 2 | 4 | 286 | 0 | 0 | 0 | 4X_Tese221
4X_Tese222 | 0 | 0 | 2 | 4 | 287 | 0 | 0 | 0 | 4X_Tese222
4X_Tese223 | 0 | 0 | 2 | 4 | 288 | 0 | 0 | 0 | 4X_Tese223
4X_Tese224 | 0 | 0 | 2 | 4 | 289 | 0 | 0 | 0 | 4X_Tese224
4X_Tese225 | 0 | 0 | 2 | 4 | 290 | 0 | 0 | 0 | 4X_Tese225
4X_Tese226 | 0 | 0 | 2 | 4 | 291 | 0 | 0 | 0 | 4X_Tese226
4X_Tese227 | 0 | 0 | 2 | 4 | 292 | 0 | 0 | 0 | 4X_Tese227
System_Target_Total_water | 0 | 0 | 2 | 4 | 293 | 0 | 0 | 0 | 4X_Tese228
System_Target_Sys1_water | 0 | 0 | 2 | 4 | 294 | 0 | 0 | 0 | 4X_Tese229
4X_Tese230 | 0 | 0 | 2 | 4 | 295 | 0 | 0 | 0 | 4X_Tese230
4X_Tese231 | 0 | 0 | 2 | 4 | 296 | 0 | 0 | 0 | 4X_Tese231
4X_Tese232 | 0 | 0 | 2 | 4 | 297 | 0 | 0 | 0 | 4X_Tese232
4X_Tese233 | 0 | 0 | 2 | 4 | 298 | 0 | 0 | 0 | 4X_Tese233
4X_Tese234 | 0 | 0 | 2 | 4 | 299 | 0 | 0 | 0 | 4X_Tese234
4X_Tese235 | 0 | 0 | 2 | 4 | 300 | 0 | 0 | 0 | 4X_Tese235
4X_Tese236 | 0 | 0 | 2 | 4 | 301 | 0 | 0 | 0 | 4X_Tese236
4X_Tese237 | 0 | 0 | 2 | 4 | 302 | 0 | 0 | 0 | 4X_Tese237
4X_Tese238 | 0 | 0 | 2 | 4 | 303 | 0 | 0 | 0 | 4X_Tese238
4X_Tese239 | 0 | 0 | 2 | 4 | 304 | 0 | 0 | 0 | 4X_Tese239
Water_Tank_Capacity | 0 | 0 | 2 | 4 | 305 | 0 | 0 | 0 | 4X_Tese240
Water_Amount_Water | 0 | 0 | 2 | 4 | 306 | 0 | 0 | 0 | 4X_Tese241
Water_Min_Water | 0 | 0 | 2 | 4 | 307 | 0 | 0 | 0 | 4X_Tese242
Water_Pipe_Pressure | 0 | 0 | 2 | 4 | 308 | 0 | 0 | 0 | 4X_Tese243
Water_Re_injection_Press | 0 | 0 | 2 | 4 | 309 | 0 | 0 | 0 | 4X_Tese244
Water_Storage_Drainage | 0 | 0 | 2 | 4 | 310 | 0 | 0 | 0 | 4X_Tese245
Water_Fluctuate_diff | 0 | 0 | 2 | 4 | 311 | 0 | 0 | 0 | 4X_Tese246
Water_Fluctuate_Time | 0 | 0 | 2 | 4 | 312 | 0 | 0 | 0 | 4X_Tese247
Water_Circulating_Pump | 0 | 0 | 2 | 4 | 313 | 0 | 0 | 0 | 4X_Tese248
Water_Drying_Time | 0 | 0 | 2 | 4 | 314 | 0 | 0 | 0 | 4X_Tese249
Water_Full_Press | 0 | 0 | 2 | 4 | 315 | 0 | 0 | 0 | 4X_Tese250
Water_Externaltank_High | 0 | 0 | 2 | 4 | 316 | 0 | 0 | 0 | 4X_Tese251
Water_Externaltank_Low | 0 | 0 | 2 | 4 | 317 | 0 | 0 | 0 | 4X_Tese252
4X_Tese253 | 0 | 0 | 2 | 4 | 318 | 0 | 0 | 0 | 4X_Tese253
4X_Tese254 | 0 | 0 | 2 | 4 | 319 | 0 | 0 | 0 | 4X_Tese254
4X_Tese255 | 0 | 0 | 2 | 4 | 320 | 0 | 0 | 0 | 4X_Tese255
4X_Tese256 | 0 | 0 | 2 | 4 | 321 | 0 | 0 | 0 | 4X_Tese256
4X_Tese257 | 0 | 0 | 2 | 4 | 322 | 0 | 0 | 0 | 4X_Tese257
4X_Tese258 | 0 | 0 | 2 | 4 | 323 | 0 | 0 | 0 | 4X_Tese258
4X_Tese259 | 0 | 0 | 2 | 4 | 324 | 0 | 0 | 0 | 4X_Tese259
4X_Tese260 | 0 | 0 | 2 | 4 | 325 | 0 | 0 | 0 | 4X_Tese260
4X_Tese261 | 0 | 0 | 2 | 4 | 326 | 0 | 0 | 0 | 4X_Tese261
4X_Tese262 | 0 | 0 | 2 | 4 | 327 | 0 | 0 | 0 | 4X_Tese262
4X_Tese263 | 0 | 0 | 2 | 4 | 328 | 0 | 0 | 0 | 4X_Tese263
4X_Tese264 | 0 | 0 | 2 | 4 | 329 | 0 | 0 | 0 | 4X_Tese264
4X_Tese265 | 0 | 0 | 2 | 4 | 330 | 0 | 0 | 0 | 4X_Tese265
4X_Tese266 | 0 | 0 | 2 | 4 | 331 | 0 | 0 | 0 | 4X_Tese266
4X_Tese267 | 0 | 0 | 2 | 4 | 332 | 0 | 0 | 0 | 4X_Tese267
4X_Tese268 | 0 | 0 | 2 | 4 | 333 | 0 | 0 | 0 | 4X_Tese268
4X_Tese269 | 0 | 0 | 2 | 4 | 334 | 0 | 0 | 0 | 4X_Tese269
4X_Tese270 | 0 | 0 | 2 | 4 | 335 | 0 | 0 | 0 | 4X_Tese270
4X_Tese271 | 0 | 0 | 2 | 4 | 336 | 0 | 0 | 0 | 4X_Tese271
4X_Tese272 | 0 | 0 | 2 | 4 | 337 | 0 | 0 | 0 | 4X_Tese272
4X_Tese273 | 0 | 0 | 2 | 4 | 338 | 0 | 0 | 0 | 4X_Tese273
4X_Tese274 | 0 | 0 | 2 | 4 | 339 | 0 | 0 | 0 | 4X_Tese274
4X_Tese275 | 0 | 0 | 2 | 4 | 340 | 0 | 0 | 0 | 4X_Tese275
4X_Tese276 | 0 | 0 | 2 | 4 | 341 | 0 | 0 | 0 | 4X_Tese276
4X_Tese277 | 0 | 0 | 2 | 4 | 342 | 0 | 0 | 0 | 4X_Tese277
4X_Tese278 | 0 | 0 | 2 | 4 | 343 | 0 | 0 | 0 | 4X_Tese278
4X_Tese279 | 0 | 0 | 2 | 4 | 344 | 0 | 0 | 0 | 4X_Tese279
4X_Tese280 | 0 | 0 | 2 | 4 | 345 | 0 | 0 | 0 | 4X_Tese280
4X_Tese281 | 0 | 0 | 2 | 4 | 346 | 0 | 0 | 0 | 4X_Tese281
4X_Tese282 | 0 | 0 | 2 | 4 | 347 | 0 | 0 | 0 | 4X_Tese282
4X_Tese283 | 0 | 0 | 2 | 4 | 348 | 0 | 0 | 0 | 4X_Tese283
4X_Tese284 | 0 | 0 | 2 | 4 | 349 | 0 | 0 | 0 | 4X_Tese284
4X_Tese285 | 0 | 0 | 2 | 4 | 350 | 0 | 0 | 0 | 4X_Tese285
4X_Tese286 | 0 | 0 | 2 | 4 | 351 | 0 | 0 | 0 | 4X_Tese286
4X_Tese287 | 0 | 0 | 2 | 4 | 352 | 0 | 0 | 0 | 4X_Tese287
4X_Tese288 | 0 | 0 | 2 | 4 | 353 | 0 | 0 | 0 | 4X_Tese288
4X_Tese289 | 0 | 0 | 2 | 4 | 354 | 0 | 0 | 0 | 4X_Tese289
4X_Tese290 | 0 | 0 | 2 | 4 | 355 | 0 | 0 | 0 | 4X_Tese290
4X_Tese291 | 0 | 0 | 2 | 4 | 356 | 0 | 0 | 0 | 4X_Tese291
4X_Tese292 | 0 | 0 | 2 | 4 | 357 | 0 | 0 | 0 | 4X_Tese292
4X_Tese293 | 0 | 0 | 2 | 4 | 358 | 0 | 0 | 0 | 4X_Tese293
4X_Tese294 | 0 | 0 | 2 | 4 | 359 | 0 | 0 | 0 | 4X_Tese294
4X_Tese295 | 0 | 0 | 2 | 4 | 360 | 0 | 0 | 0 | 4X_Tese295
4X_Tese296 | 0 | 0 | 2 | 4 | 361 | 0 | 0 | 0 | 4X_Tese296
4X_Tese297 | 0 | 0 | 2 | 4 | 362 | 0 | 0 | 0 | 4X_Tese297
4X_Tese298 | 0 | 0 | 2 | 4 | 363 | 0 | 0 | 0 | 4X_Tese298
4X_Tese299 | 0 | 0 | 2 | 4 | 364 | 0 | 0 | 0 | 4X_Tese299
4X_Tese300 | 0 | 0 | 2 | 4 | 365 | 0 | 0 | 0 | 4X_Tese300
4X_Tese301 | 0 | 0 | 2 | 4 | 366 | 0 | 0 | 0 | 4X_Tese301
4X_Tese302 | 0 | 0 | 2 | 4 | 367 | 0 | 0 | 0 | 4X_Tese302
4X_Tese303 | 0 | 0 | 2 | 4 | 368 | 0 | 0 | 0 | 4X_Tese303
4X_Tese304 | 0 | 0 | 2 | 4 | 369 | 0 | 0 | 0 | 4X_Tese304
4X_Tese305 | 0 | 0 | 2 | 4 | 370 | 0 | 0 | 0 | 4X_Tese305
4X_Tese306 | 0 | 0 | 2 | 4 | 371 | 0 | 0 | 0 | 4X_Tese306
4X_Tese307 | 0 | 0 | 2 | 4 | 372 | 0 | 0 | 0 | 4X_Tese307
4X_Tese308 | 0 | 0 | 2 | 4 | 373 | 0 | 0 | 0 | 4X_Tese308
4X_Tese309 | 0 | 0 | 2 | 4 | 374 | 0 | 0 | 0 | 4X_Tese309
4X_Tese310 | 0 | 0 | 2 | 4 | 375 | 0 | 0 | 0 | 4X_Tese310
4X_Tese311 | 0 | 0 | 2 | 4 | 376 | 0 | 0 | 0 | 4X_Tese311
Net_OTA_Operate | 0 | 0 | 2 | 4 | 377 | 0 | 0 | 0 | 4X_Tese312
Net_Net_WifiSet | 0 | 0 | 2 | 4 | 378 | 0 | 0 | 0 | 4X_Tese313
Net_Net_Sel | 0 | 0 | 2 | 4 | 379 | 0 | 0 | 0 | 4X_Tese314
Net_Wifi_Name0 | 0 | 0 | 2 | 4 | 380 | 0 | 0 | 0 | 4X_Tese315
Net_Wifi_Name1 | 0 | 0 | 2 | 4 | 381 | 0 | 0 | 0 | 4X_Tese316
Net_Wifi_Name2 | 0 | 0 | 2 | 4 | 382 | 0 | 0 | 0 | 4X_Tese317
Net_Wifi_Name3 | 0 | 0 | 2 | 4 | 383 | 0 | 0 | 0 | 4X_Tese318
Net_Wifi_Name4 | 0 | 0 | 2 | 4 | 384 | 0 | 0 | 0 | 4X_Tese319
Net_Wifi_Name5 | 0 | 0 | 2 | 4 | 385 | 0 | 0 | 0 | 4X_Tese320
Net_Wifi_Name6 | 0 | 0 | 2 | 4 | 386 | 0 | 0 | 0 | 4X_Tese321
Net_Wifi_Name7 | 0 | 0 | 2 | 4 | 387 | 0 | 0 | 0 | 4X_Tese322
Net_Wifi_Name8 | 0 | 0 | 2 | 4 | 388 | 0 | 0 | 0 | 4X_Tese323
Net_Wifi_Name9 | 0 | 0 | 2 | 4 | 389 | 0 | 0 | 0 | 4X_Tese324
Net_Wifi_Password0 | 0 | 0 | 2 | 4 | 390 | 0 | 0 | 0 | 4X_Tese325
Net_Wifi_Password1 | 0 | 0 | 2 | 4 | 391 | 0 | 0 | 0 | 4X_Tese326
Net_Wifi_Password2 | 0 | 0 | 2 | 4 | 392 | 0 | 0 | 0 | 4X_Tese327
Net_Wifi_Password3 | 0 | 0 | 2 | 4 | 393 | 0 | 0 | 0 | 4X_Tese328
Net_Wifi_Password4 | 0 | 0 | 2 | 4 | 394 | 0 | 0 | 0 | 4X_Tese329
Net_Wifi_Password5 | 0 | 0 | 2 | 4 | 395 | 0 | 0 | 0 | 4X_Tese330
Net_Wifi_Password6 | 0 | 0 | 2 | 4 | 396 | 0 | 0 | 0 | 4X_Tese331
Net_Wifi_Password7 | 0 | 0 | 2 | 4 | 397 | 0 | 0 | 0 | 4X_Tese332
Net_Wifi_Password8 | 0 | 0 | 2 | 4 | 398 | 0 | 0 | 0 | 4X_Tese333
Net_Wifi_Password9 | 0 | 0 | 2 | 4 | 399 | 0 | 0 | 0 | 4X_Tese334
Net_Device_info00 | 0 | 0 | 2 | 4 | 400 | 0 | 0 | 0 | 4X_Tese335
Net_Device_info01 | 0 | 0 | 2 | 4 | 401 | 0 | 0 | 0 | 4X_Tese336
Net_Device_info02 | 0 | 0 | 2 | 4 | 402 | 0 | 0 | 0 | 4X_Tese337
Net_Device_info03 | 0 | 0 | 2 | 4 | 403 | 0 | 0 | 0 | 4X_Tese338
Net_Device_info04 | 0 | 0 | 2 | 4 | 404 | 0 | 0 | 0 | 4X_Tese339
Net_Device_info05 | 0 | 0 | 2 | 4 | 405 | 0 | 0 | 0 | 4X_Tese340
Net_Device_info06 | 0 | 0 | 2 | 4 | 406 | 0 | 0 | 0 | 4X_Tese341
Net_Device_info07 | 0 | 0 | 2 | 4 | 407 | 0 | 0 | 0 | 4X_Tese342
Net_Device_info08 | 0 | 0 | 2 | 4 | 408 | 0 | 0 | 0 | 4X_Tese343
Net_Device_info09 | 0 | 0 | 2 | 4 | 409 | 0 | 0 | 0 | 4X_Tese344
Net_Device_info10 | 0 | 0 | 2 | 4 | 410 | 0 | 0 | 0 | 4X_Tese345
Net_Device_info11 | 0 | 0 | 2 | 4 | 411 | 0 | 0 | 0 | 4X_Tese346
Net_Device_info12 | 0 | 0 | 2 | 4 | 412 | 0 | 0 | 0 | 4X_Tese347
Net_Device_info13 | 0 | 0 | 2 | 4 | 413 | 0 | 0 | 0 | 4X_Tese348
Net_Device_info14 | 0 | 0 | 2 | 4 | 414 | 0 | 0 | 0 | 4X_Tese349
Net_Device_info15 | 0 | 0 | 2 | 4 | 415 | 0 | 0 | 0 | 4X_Tese350
Net_Device_info16 | 0 | 0 | 2 | 4 | 416 | 0 | 0 | 0 | 4X_Tese351
Net_Device_info17 | 0 | 0 | 2 | 4 | 417 | 0 | 0 | 0 | 4X_Tese352
Net_Device_info18 | 0 | 0 | 2 | 4 | 418 | 0 | 0 | 0 | 4X_Tese353
Net_Device_info19 | 0 | 0 | 2 | 4 | 419 | 0 | 0 | 0 | 4X_Tese354
Net_Device_info20 | 0 | 0 | 2 | 4 | 420 | 0 | 0 | 0 | 4X_Tese355
Net_Device_info21 | 0 | 0 | 2 | 4 | 421 | 0 | 0 | 0 | 4X_Tese356
Net_Device_info22 | 0 | 0 | 2 | 4 | 422 | 0 | 0 | 0 | 4X_Tese357
Net_Device_info23 | 0 | 0 | 2 | 4 | 423 | 0 | 0 | 0 | 4X_Tese358
Net_Device_info24 | 0 | 0 | 2 | 4 | 424 | 0 | 0 | 0 | 4X_Tese359
Net_Device_info25 | 0 | 0 | 2 | 4 | 425 | 0 | 0 | 0 | 4X_Tese360
Net_Device_info26 | 0 | 0 | 2 | 4 | 426 | 0 | 0 | 0 | 4X_Tese361
Net_Device_info27 | 0 | 0 | 2 | 4 | 427 | 0 | 0 | 0 | 4X_Tese362
Net_Device_info28 | 0 | 0 | 2 | 4 | 428 | 0 | 0 | 0 | 4X_Tese363
Net_Device_info29 | 0 | 0 | 2 | 4 | 429 | 0 | 0 | 0 | 4X_Tese364
Net_Device_info30 | 0 | 0 | 2 | 4 | 430 | 0 | 0 | 0 | 4X_Tese365
Net_Device_info31 | 0 | 0 | 2 | 4 | 431 | 0 | 0 | 0 | 4X_Tese366
Net_Device_info32 | 0 | 0 | 2 | 4 | 432 | 0 | 0 | 0 | 4X_Tese367
Net_Device_info33 | 0 | 0 | 2 | 4 | 433 | 0 | 0 | 0 | 4X_Tese368
Net_Device_info34 | 0 | 0 | 2 | 4 | 434 | 0 | 0 | 0 | 4X_Tese369
Net_Device_info35 | 0 | 0 | 2 | 4 | 435 | 0 | 0 | 0 | 4X_Tese370
Net_Device_info36 | 0 | 0 | 2 | 4 | 436 | 0 | 0 | 0 | 4X_Tese371
Net_Device_info37 | 0 | 0 | 2 | 4 | 437 | 0 | 0 | 0 | 4X_Tese372
Net_Device_info38 | 0 | 0 | 2 | 4 | 438 | 0 | 0 | 0 | 4X_Tese373
Net_Device_info39 | 0 | 0 | 2 | 4 | 439 | 0 | 0 | 0 | 4X_Tese374
Net_Device_info40 | 0 | 0 | 2 | 4 | 440 | 0 | 0 | 0 | 4X_Tese375
Net_Device_info41 | 0 | 0 | 2 | 4 | 441 | 0 | 0 | 0 | 4X_Tese376
Net_Device_info42 | 0 | 0 | 2 | 4 | 442 | 0 | 0 | 0 | 4X_Tese377
Net_Device_info43 | 0 | 0 | 2 | 4 | 443 | 0 | 0 | 0 | 4X_Tese378
Net_Device_info44 | 0 | 0 | 2 | 4 | 444 | 0 | 0 | 0 | 4X_Tese379
Net_Device_info45 | 0 | 0 | 2 | 4 | 445 | 0 | 0 | 0 | 4X_Tese380
Net_Device_info46 | 0 | 0 | 2 | 4 | 446 | 0 | 0 | 0 | 4X_Tese381
Net_Device_info47 | 0 | 0 | 2 | 4 | 447 | 0 | 0 | 0 | 4X_Tese382
Net_Device_info48 | 0 | 0 | 2 | 4 | 448 | 0 | 0 | 0 | 4X_Tese383
Net_Device_info49 | 0 | 0 | 2 | 4 | 449 | 0 | 0 | 0 | 4X_Tese384
Net_Device_info50 | 0 | 0 | 2 | 4 | 450 | 0 | 0 | 0 | 4X_Tese385
Net_Device_info51 | 0 | 0 | 2 | 4 | 451 | 0 | 0 | 0 | 4X_Tese386
Net_Device_info52 | 0 | 0 | 2 | 4 | 452 | 0 | 0 | 0 | 4X_Tese387
Net_Device_info53 | 0 | 0 | 2 | 4 | 453 | 0 | 0 | 0 | 4X_Tese388
Net_Device_info54 | 0 | 0 | 2 | 4 | 454 | 0 | 0 | 0 | 4X_Tese389
Net_Device_info55 | 0 | 0 | 2 | 4 | 455 | 0 | 0 | 0 | 4X_Tese390
Net_Device_info56 | 0 | 0 | 2 | 4 | 456 | 0 | 0 | 0 | 4X_Tese391
Net_Device_info57 | 0 | 0 | 2 | 4 | 457 | 0 | 0 | 0 | 4X_Tese392
Net_Device_info58 | 0 | 0 | 2 | 4 | 458 | 0 | 0 | 0 | 4X_Tese393
Net_Device_info59 | 0 | 0 | 2 | 4 | 459 | 0 | 0 | 0 | 4X_Tese394
Net_Device_info60 | 0 | 0 | 2 | 4 | 460 | 0 | 0 | 0 | 4X_Tese395
Net_Device_info61 | 0 | 0 | 2 | 4 | 461 | 0 | 0 | 0 | 4X_Tese396
Net_Device_info62 | 0 | 0 | 2 | 4 | 462 | 0 | 0 | 0 | 4X_Tese397
Net_Device_info63 | 0 | 0 | 2 | 4 | 463 | 0 | 0 | 0 | 4X_Tese398
Net_Device_info64 | 0 | 0 | 2 | 4 | 464 | 0 | 0 | 0 | 4X_Tese399
Net_Device_info65 | 0 | 0 | 2 | 4 | 465 | 0 | 0 | 0 | 4X_Tese400
Net_Device_info66 | 0 | 0 | 2 | 4 | 466 | 0 | 0 | 0 | 4X_Tese401
Net_Device_info67 | 0 | 0 | 2 | 4 | 467 | 0 | 0 | 0 | 4X_Tese402
Net_Device_info68 | 0 | 0 | 2 | 4 | 468 | 0 | 0 | 0 | 4X_Tese403
Net_Device_info69 | 0 | 0 | 2 | 4 | 469 | 0 | 0 | 0 | 4X_Tese404
Net_Device_info70 | 0 | 0 | 2 | 4 | 470 | 0 | 0 | 0 | 4X_Tese405
Net_Device_info71 | 0 | 0 | 2 | 4 | 471 | 0 | 0 | 0 | 4X_Tese406
Net_Device_info72 | 0 | 0 | 2 | 4 | 472 | 0 | 0 | 0 | 4X_Tese407
Net_Device_info73 | 0 | 0 | 2 | 4 | 473 | 0 | 0 | 0 | 4X_Tese408
Net_Device_info74 | 0 | 0 | 2 | 4 | 474 | 0 | 0 | 0 | 4X_Tese409
Net_Device_info75 | 0 | 0 | 2 | 4 | 475 | 0 | 0 | 0 | 4X_Tese410
Net_Device_info76 | 0 | 0 | 2 | 4 | 476 | 0 | 0 | 0 | 4X_Tese411
Net_Device_info77 | 0 | 0 | 2 | 4 | 477 | 0 | 0 | 0 | 4X_Tese412
Net_Device_info78 | 0 | 0 | 2 | 4 | 478 | 0 | 0 | 0 | 4X_Tese413
Net_Device_info79 | 0 | 0 | 2 | 4 | 479 | 0 | 0 | 0 | 4X_Tese414
Net_Device_info80 | 0 | 0 | 2 | 4 | 480 | 0 | 0 | 0 | 4X_Tese415
Net_Device_info81 | 0 | 0 | 2 | 4 | 481 | 0 | 0 | 0 | 4X_Tese416
Net_Device_info82 | 0 | 0 | 2 | 4 | 482 | 0 | 0 | 0 | 4X_Tese417
Net_Device_info83 | 0 | 0 | 2 | 4 | 483 | 0 | 0 | 0 | 4X_Tese418
Net_Device_info84 | 0 | 0 | 2 | 4 | 484 | 0 | 0 | 0 | 4X_Tese419
Net_Device_info85 | 0 | 0 | 2 | 4 | 485 | 0 | 0 | 0 | 4X_Tese420
Net_Device_info86 | 0 | 0 | 2 | 4 | 486 | 0 | 0 | 0 | 4X_Tese421
Net_Device_info87 | 0 | 0 | 2 | 4 | 487 | 0 | 0 | 0 | 4X_Tese422
Net_Device_info88 | 0 | 0 | 2 | 4 | 488 | 0 | 0 | 0 | 4X_Tese423
Net_Device_info89 | 0 | 0 | 2 | 4 | 489 | 0 | 0 | 0 | 4X_Tese424
Net_Device_info90 | 0 | 0 | 2 | 4 | 490 | 0 | 0 | 0 | 4X_Tese425
Net_Device_info91 | 0 | 0 | 2 | 4 | 491 | 0 | 0 | 0 | 4X_Tese426
Net_Device_info92 | 0 | 0 | 2 | 4 | 492 | 0 | 0 | 0 | 4X_Tese427
Net_Device_info93 | 0 | 0 | 2 | 4 | 493 | 0 | 0 | 0 | 4X_Tese428
Net_Device_info94 | 0 | 0 | 2 | 4 | 494 | 0 | 0 | 0 | 4X_Tese429
Net_Device_info95 | 0 | 0 | 2 | 4 | 495 | 0 | 0 | 0 | 4X_Tese430
Net_Device_info96 | 0 | 0 | 2 | 4 | 496 | 0 | 0 | 0 | 4X_Tese431
Net_Device_info97 | 0 | 0 | 2 | 4 | 497 | 0 | 0 | 0 | 4X_Tese432
Net_Device_info98 | 0 | 0 | 2 | 4 | 498 | 0 | 0 | 0 | 4X_Tese433
Net_Device_info99 | 0 | 0 | 2 | 4 | 499 | 0 | 0 | 0 | 4X_Tese434
4X_Tese435 | 0 | 0 | 2 | 4 | 500 | 0 | 0 | 0 | 4X_Tese435
status_Sys_info_status_reg_num | 0 | 0 | 2 | 4 | 701 | 0 | 0 | 0 | 4X_Tese436
status_Sys_info_config_reg_num | 0 | 0 | 2 | 4 | 702 | 0 | 0 | 0 | 4X_Tese437
status_Sys_info_software_ver | 0 | 0 | 2 | 4 | 703 | 0 | 0 | 0 | 4X_Tese438
status_Sys_info_hardware_ver | 0 | 0 | 2 | 4 | 704 | 0 | 0 | 0 | 4X_Tese439
status_Sys_info_serial_no3 | 0 | 0 | 2 | 4 | 705 | 0 | 0 | 0 | 4X_Tese440
status_Sys_info_serial_no2 | 0 | 0 | 2 | 4 | 706 | 0 | 0 | 0 | 4X_Tese441
status_Sys_info_serial_no1 | 0 | 0 | 2 | 4 | 707 | 0 | 0 | 0 | 4X_Tese442
status_Sys_info_serial_no0 | 0 | 0 | 2 | 4 | 708 | 0 | 0 | 0 | 4X_Tese443
status_Sys_info_man_date1 | 0 | 0 | 2 | 4 | 709 | 0 | 0 | 0 | 4X_Tese444
status_Sys_info_man_date0 | 0 | 0 | 2 | 4 | 710 | 0 | 0 | 0 | 4X_Tese445
4X_Tese446 | 0 | 0 | 2 | 4 | 711 | 0 | 0 | 0 | 4X_Tese446
4X_Tese447 | 0 | 0 | 2 | 4 | 712 | 0 | 0 | 0 | 4X_Tese447
status_ComSta_Status_remap0 | 0 | 0 | 2 | 4 | 713 | 0 | 0 | 0 | 4X_Tese448
status_ComSta_Status_remap1 | 0 | 0 | 2 | 4 | 714 | 0 | 0 | 0 | 4X_Tese449
status_ComSta_Status_remap2 | 0 | 0 | 2 | 4 | 715 | 0 | 0 | 0 | 4X_Tese450
status_ComSta_Status_remap3 | 0 | 0 | 2 | 4 | 716 | 0 | 0 | 0 | 4X_Tese451
4X_Tese452 | 0 | 0 | 2 | 4 | 717 | 0 | 0 | 0 | 4X_Tese452
status_ComSta_Alarm_bitmap0 | 0 | 0 | 2 | 4 | 718 | 0 | 0 | 0 | 4X_Tese453
status_ComSta_Alarm_bitmap1 | 0 | 0 | 2 | 4 | 719 | 0 | 0 | 0 | 4X_Tese454
status_ComSta_Alarm_bitmap2 | 0 | 0 | 2 | 4 | 720 | 0 | 0 | 0 | 4X_Tese455
status_ComSta_Alarm_bitmap3 | 0 | 0 | 2 | 4 | 721 | 0 | 0 | 0 | 4X_Tese456
status_ComSta_Alarm_bitmap4 | 0 | 0 | 2 | 4 | 722 | 0 | 0 | 0 | 4X_Tese457
status_ComSta_Alarm_bitmap5 | 0 | 0 | 2 | 4 | 723 | 0 | 0 | 0 | 4X_Tese458
4X_Tese459 | 0 | 0 | 2 | 4 | 724 | 0 | 0 | 0 | 4X_Tese459
status_ComSta_Alarm_COM_NTC_BIT0 | 0 | 0 | 2 | 4 | 725 | 0 | 0 | 0 | 4X_Tese460
status_ComSta_Alarm_COM_NTC_BIT1 | 0 | 0 | 2 | 4 | 726 | 0 | 0 | 0 | 4X_Tese461
status_ComSta_Alarm_COM_NTC_BIT2 | 0 | 0 | 2 | 4 | 727 | 0 | 0 | 0 | 4X_Tese462
status_ComSta_Alarm_COM_NTC_BIT3 | 0 | 0 | 2 | 4 | 728 | 0 | 0 | 0 | 4X_Tese463
4X_Tese464 | 0 | 0 | 2 | 4 | 729 | 0 | 0 | 0 | 4X_Tese464
4X_Tese465 | 0 | 0 | 2 | 4 | 730 | 0 | 0 | 0 | 4X_Tese465
4X_Tese466 | 0 | 0 | 2 | 4 | 731 | 0 | 0 | 0 | 4X_Tese466
4X_Tese467 | 0 | 0 | 2 | 4 | 732 | 0 | 0 | 0 | 4X_Tese467
4X_Tese468 | 0 | 0 | 2 | 4 | 733 | 0 | 0 | 0 | 4X_Tese468
4X_Tese469 | 0 | 0 | 2 | 4 | 734 | 0 | 0 | 0 | 4X_Tese469
status_ComSta_TH0_Temp | 0 | 0 | 2 | 4 | 735 | 0 | 0 | 0 | 4X_Tese470
status_ComSta__TH0_Hum | 0 | 0 | 2 | 4 | 736 | 0 | 0 | 0 | 4X_Tese471
status_ComSta_TH1_Temp | 0 | 0 | 2 | 4 | 737 | 0 | 0 | 0 | 4X_Tese472
status_ComSta__TH1_Hum | 0 | 0 | 2 | 4 | 738 | 0 | 0 | 0 | 4X_Tese473
status_ComSta_TH2_Temp | 0 | 0 | 2 | 4 | 739 | 0 | 0 | 0 | 4X_Tese474
status_ComSta__TH2_Hum | 0 | 0 | 2 | 4 | 740 | 0 | 0 | 0 | 4X_Tese475
status_ComSta_TH3_Temp | 0 | 0 | 2 | 4 | 741 | 0 | 0 | 0 | 4X_Tese476
status_ComSta__TH3_Hum | 0 | 0 | 2 | 4 | 742 | 0 | 0 | 0 | 4X_Tese477
status_ComSta_TH4_Temp | 0 | 0 | 2 | 4 | 743 | 0 | 0 | 0 | 4X_Tese478
status_ComSta__TH4_Hum | 0 | 0 | 2 | 4 | 744 | 0 | 0 | 0 | 4X_Tese479
status_ComSta_TH5_Temp | 0 | 0 | 2 | 4 | 745 | 0 | 0 | 0 | 4X_Tese480
status_ComSta__TH5_Hum | 0 | 0 | 2 | 4 | 746 | 0 | 0 | 0 | 4X_Tese481
status_ComSta_TH6_Temp | 0 | 0 | 2 | 4 | 747 | 0 | 0 | 0 | 4X_Tese482
status_ComSta__TH6_Hum | 0 | 0 | 2 | 4 | 748 | 0 | 0 | 0 | 4X_Tese483
status_ComSta_TH7_Temp | 0 | 0 | 2 | 4 | 749 | 0 | 0 | 0 | 4X_Tese484
status_ComSta__TH7_Hum | 0 | 0 | 2 | 4 | 750 | 0 | 0 | 0 | 4X_Tese485
status_ComSta_TH8_Temp | 0 | 0 | 2 | 4 | 751 | 0 | 0 | 0 | 4X_Tese486
status_ComSta__TH8_Hum | 0 | 0 | 2 | 4 | 752 | 0 | 0 | 0 | 4X_Tese487
status_ComSta_TH9_Temp | 0 | 0 | 2 | 4 | 753 | 0 | 0 | 0 | 4X_Tese488
status_ComSta__TH9_Hum | 0 | 0 | 2 | 4 | 754 | 0 | 0 | 0 | 4X_Tese489
status_ComSta_Din_bitmap0 | 0 | 0 | 2 | 4 | 755 | 0 | 0 | 0 | 4X_Tese490
status_ComSta_Din_bitmap1 | 0 | 0 | 2 | 4 | 756 | 0 | 0 | 0 | 4X_Tese491
status_ComSta_Dout_bitmap0 | 0 | 0 | 2 | 4 | 757 | 0 | 0 | 0 | 4X_Tese492
status_ComSta_Dout_bitmap1 | 0 | 0 | 2 | 4 | 758 | 0 | 0 | 0 | 4X_Tese493
status_ComSta_Ain_AI_SENSOR2 | 0 | 0 | 2 | 4 | 759 | 0 | 0 | 0 | 4X_Tese494
status_ComSta_Ain_AI_SENSOR3 | 0 | 0 | 2 | 4 | 760 | 0 | 0 | 0 | 4X_Tese495
status_ComSta_Ain_AI_SENSOR4 | 0 | 0 | 2 | 4 | 761 | 0 | 0 | 0 | 4X_Tese496
status_ComSta_Ain_AI_SENSOR5 | 0 | 0 | 2 | 4 | 762 | 0 | 0 | 0 | 4X_Tese497
status_ComSta_Ain_AI_SENSOR6 | 0 | 0 | 2 | 4 | 763 | 0 | 0 | 0 | 4X_Tese498
status_ComSta_Ain_AI_SENSOR7 | 0 | 0 | 2 | 4 | 764 | 0 | 0 | 0 | 4X_Tese499
status_ComSta_Ain_AI_SENSOR8 | 0 | 0 | 2 | 4 | 765 | 0 | 0 | 0 | 4X_Tese500
status_ComSta_Ain_AI_SENSOR9 | 0 | 0 | 2 | 4 | 766 | 0 | 0 | 0 | 4X_Tese501
status_ComSta_Ain_AI_SENSOR10 | 0 | 0 | 2 | 4 | 767 | 0 | 0 | 0 | 4X_Tese502
status_ComSta_Ain_AI_SENSOR11 | 0 | 0 | 2 | 4 | 768 | 0 | 0 | 0 | 4X_Tese503
status_ComSta_Ain_AI_SENSOR12 | 0 | 0 | 2 | 4 | 769 | 0 | 0 | 0 | 4X_Tese504
status_ComSta_Ain_AI_SENSOR13 | 0 | 0 | 2 | 4 | 770 | 0 | 0 | 0 | 4X_Tese505
status_ComSta_Ain_AI_SENSOR14 | 0 | 0 | 2 | 4 | 771 | 0 | 0 | 0 | 4X_Tese506
status_ComSta_Ain_AI_SENSOR15 | 0 | 0 | 2 | 4 | 772 | 0 | 0 | 0 | 4X_Tese507
status_ComSta_Ain_AI_SENSOR16 | 0 | 0 | 2 | 4 | 773 | 0 | 0 | 0 | 4X_Tese508
status_ComSta_Ain_AI_NTC1 | 0 | 0 | 2 | 4 | 774 | 0 | 0 | 0 | 4X_Tese509
status_ComSta_Ain_AI_NTC2 | 0 | 0 | 2 | 4 | 775 | 0 | 0 | 0 | 4X_Tese510
status_ComSta_Ain_AI_NTC3 | 0 | 0 | 2 | 4 | 776 | 0 | 0 | 0 | 4X_Tese511
status_ComSta_Ain_AI_NTC4 | 0 | 0 | 2 | 4 | 777 | 0 | 0 | 0 | 4X_Tese512
status_ComSta_Ain_AI_NTC5 | 0 | 0 | 2 | 4 | 778 | 0 | 0 | 0 | 4X_Tese513
status_ComSta_Ain_AI_NTC6 | 0 | 0 | 2 | 4 | 779 | 0 | 0 | 0 | 4X_Tese514
status_ComSta_Ain_AI_NTC7 | 0 | 0 | 2 | 4 | 780 | 0 | 0 | 0 | 4X_Tese515
status_ComSta_Ain_AI_NTC8 | 0 | 0 | 2 | 4 | 781 | 0 | 0 | 0 | 4X_Tese516
status_ComSta_AO0 | 0 | 0 | 2 | 4 | 782 | 0 | 0 | 0 | 4X_Tese517
status_ComSta_AO1 | 0 | 0 | 2 | 4 | 783 | 0 | 0 | 0 | 4X_Tese518
status_ComSta_AO2 | 0 | 0 | 2 | 4 | 784 | 0 | 0 | 0 | 4X_Tese519
status_ComSta_AO3 | 0 | 0 | 2 | 4 | 785 | 0 | 0 | 0 | 4X_Tese520
status_ComSta_AO4 | 0 | 0 | 2 | 4 | 786 | 0 | 0 | 0 | 4X_Tese521
status_ComSta_AO5 | 0 | 0 | 2 | 4 | 787 | 0 | 0 | 0 | 4X_Tese522
4X_Tese523 | 0 | 0 | 2 | 4 | 788 | 0 | 0 | 0 | 4X_Tese523
4X_Tese524 | 0 | 0 | 2 | 4 | 789 | 0 | 0 | 0 | 4X_Tese524
4X_Tese525 | 0 | 0 | 2 | 4 | 790 | 0 | 0 | 0 | 4X_Tese525
4X_Tese526 | 0 | 0 | 2 | 4 | 791 | 0 | 0 | 0 | 4X_Tese526
status_ComSta_Last_Water | 0 | 0 | 2 | 4 | 792 | 0 | 0 | 0 | 4X_Tese527
status_ComSta_Cumulative_Water0 | 0 | 0 | 2 | 4 | 793 | 0 | 0 | 0 | 4X_Tese528
status_ComSta_Cumulative_Water1 | 0 | 0 | 2 | 4 | 794 | 0 | 0 | 0 | 4X_Tese529
status_ComSta_Runtime_DO_FILLTER_DUMMY_BPOS | 0 | 0 | 2 | 4 | 795 | 0 | 0 | 0 | 4X_Tese530
status_ComSta_Runtime_DO_FILLTER_ELEMENT_DUMMY_BPOS_0 | 0 | 0 | 2 | 4 | 796 | 0 | 0 | 0 | 4X_Tese531
status_ComSta_Runtime_DO_FAN_BPOS | 0 | 0 | 2 | 4 | 797 | 0 | 0 | 0 | 4X_Tese532
status_ComSta_Runtime_DO_COMP1_BPOS | 0 | 0 | 2 | 4 | 798 | 0 | 0 | 0 | 4X_Tese533
status_ComSta_Runtime_DO_COMP2_BPOS | 0 | 0 | 2 | 4 | 799 | 0 | 0 | 0 | 4X_Tese534
status_ComSta_Runtime_DO_FILLTER_ELEMENT_DUMMY_BPOS_1 | 0 | 0 | 2 | 4 | 800 | 0 | 0 | 0 | 4X_Tese535
status_ComSta_Runtime_DO_FILLTER_ELEMENT_DUMMY_BPOS_2 | 0 | 0 | 2 | 4 | 801 | 0 | 0 | 0 | 4X_Tese536
status_ComSta_Runtime_DO_FILLTER_ELEMENT_DUMMY_BPOS_3 | 0 | 0 | 2 | 4 | 802 | 0 | 0 | 0 | 4X_Tese537
status_ComSta_Runtime_DO_FILLTER_ELEMENT_DUMMY_BPOS_4 | 0 | 0 | 2 | 4 | 803 | 0 | 0 | 0 | 4X_Tese538
status_ComSta_Runtime_DO_UV1_BPOS | 0 | 0 | 2 | 4 | 804 | 0 | 0 | 0 | 4X_Tese539
status_ComSta_Runtime_DO_UV2_BPOS | 0 | 0 | 2 | 4 | 805 | 0 | 0 | 0 | 4X_Tese540
status_ComSta_REQ_TEST0 | 0 | 0 | 2 | 4 | 806 | 0 | 0 | 0 | 4X_Tese541
status_ComSta_REQ_TEST1 | 0 | 0 | 2 | 4 | 807 | 0 | 0 | 0 | 4X_Tese542
4X_Tese543 | 0 | 0 | 2 | 4 | 808 | 0 | 0 | 0 | 4X_Tese543
4X_Tese544 | 0 | 0 | 2 | 4 | 809 | 0 | 0 | 0 | 4X_Tese544
status_ComSta_WL | 0 | 0 | 2 | 4 | 810 | 0 | 0 | 0 | 4X_Tese545
status_ComSta_Status_remap1 | 0 | 0 | 2 | 4 | 811 | 0 | 0 | 0 | 4X_Tese546
status_ComSta_Cur_Water | 0 | 0 | 2 | 4 | 812 | 0 | 0 | 0 | 4X_Tese547
status_ComSta_Net_status | 0 | 0 | 2 | 4 | 813 | 0 | 0 | 0 | 4X_Tese548
status_ComSta_PM25 | 0 | 0 | 2 | 4 | 814 | 0 | 0 | 0 | 4X_Tese549
4X_Tese550 | 0 | 0 | 2 | 4 | 815 | 0 | 0 | 0 | 4X_Tese550
4X_Tese551 | 0 | 0 | 2 | 4 | 816 | 0 | 0 | 0 | 4X_Tese551
4X_Tese552 | 0 | 0 | 2 | 4 | 817 | 0 | 0 | 0 | 4X_Tese552
4X_Tese553 | 0 | 0 | 2 | 4 | 818 | 0 | 0 | 0 | 4X_Tese553
4X_Tese554 | 0 | 0 | 2 | 4 | 819 | 0 | 0 | 0 | 4X_Tese554
4X_Tese555 | 0 | 0 | 2 | 4 | 820 | 0 | 0 | 0 | 4X_Tese555

## MCU寄存器4X_B
AddrTag Lib | V106
AddrTagName | AddrHMIID | AddrPLCID | DataType | AddrType | Addr | AddrCodeType | AddrTagDataType | EnableAddrTagDataType | 备注
alarm_bit_High_ambient_temperature | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_Low_ambient_temperature | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_exhaust_high_temperature | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_exhaust_high_temperature | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_high_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_high_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_low_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_low_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_fan_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_fan_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_high_pressure_lock | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_high_pressure_lock | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_low_pressure_lock | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_low_pressure_lock | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_exhaust_lock | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_exhaust_lock | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_compressor | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_compressor | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_exhaust_tem_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_exhaust_tem_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_compressor_driver_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_compressor_driver_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_compressor_driver | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_compressor_driver | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_high_pressure_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_low_pressure_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_high_pressure_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_low_pressure_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_ambient_T&H_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_ambient_T&H_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys1_fan_speed_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_sys2_fan_speed_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_change_filter_element | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_change_UV | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_clean_air_filter | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_cycle_clean_unfinished | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_cycle_pumb_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_air_pumb_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_source_tank_low_flouting_ball_timeout | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_source_tank_high_flouting_ball_timeout | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_pressor_sensor1_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_pressor_sensor2_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_liquid_sensor_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_EV3_error | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_air_pumb_low_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_empty_activated_carbon_filter_high_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_empty_PP_filter_high_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_empty_cooler_board_high_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_precipitation_cup_block | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_PP_filter_high_pressure_error1 | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_PP_filter_high_pressure_error2 | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_storage_tank_high_pressure | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0
alarm_bit_pressure_fluctuation | 0 | 0 | 0 | 6 | 506.03 | 0 | 0 | 0